## Sheet1
Subject | Standing | [6 empty] | Walking
ID | EO1 | EO2 | EC1 | EC2 | Stroop1 | Stroop2 | Stroop_Post | Arm | Metronome | Normal | Stroop
1 | OK | OK | OK | OK | OK | OK | not measured | left wrist not tracked | OK | OK | OK
NO DATA!
2 | OK | OK | OK | OK | OK | OK | OK | OK | project not saved | LASIS blinking | LASIS blinking | OK: all markers were tracked for more than 99% of frames.
(tsv file saved); NO DATA!!
3 | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK
4 | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK
5 | OK | OK | OK | OK | OK | OK | OK | OK | OK | Lankle: 4%, Lheel: 94% | OK
6 | OK | OK | OK | OK | OK | OK | OK | OK | OK (Lheel: 97%) | OK (Lheel: 95%) | OK (Lheel: 95%)
7 | R GTR not tracked | R GTR not tracked | R GTR not tracked | R GTR 98.5% | R GTR not tracked | R GTR not tracked | R GTR not tracked | OK (Lheel: 97%) | OK (LASIS 89%) | OK (LASIS 96%)
| R GTR not tracked for EO3 & 4 | [6 empty] | LASIS blinking |  |  | named reDo
8 | not measured | not measured | OK | OK | OK | OK | OK | OK (Lhead: 97%) | right&left feet screwed up; NO DATA!!!
9 | OK | OK | OK | OK | OK | OK | OK | OK (Lheel: 99%) | OK | LASIS: 89%, Lheel: 99% | OK (Lhead: 98%, LASIS: 96%)
[8 empty] | named Arm2 |  | could be better
10 | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK
named Arm2
11 | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK
12 | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK (LASIS: 95%) | OK
named Metronome1
13 | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK | OK
| named EO1a | [6 empty] | named arm1
14 | OK | OK | OK | OK | OK | OK | OK | OK (Lheel: 96%) | OK (Lheel: 89%) | OK (Lheel: 91%) | OK
Note on J5: shinya: there's tsv (text) file for the trial. Data may be rescued from the file.